OIL AND NATURAL GAS CORPORATION LIMITED

Institute of Drilling and Well Engineering (IDWE), Dehradun

Quality Assurance Laboratory

SOP-QS-01   –   Impartiality Management Procedure

ISO/IEC 17025:2017  Clause 4.1

| Document ID | Document Title | Revision | Issue Date |
| --- | --- | --- | --- |
| SOP-QS-01 | Impartiality Management Procedure | Rev.00 | March 2026 |
| ISO/IEC 17025:2017 | Prepared By | Reviewed By | Approved By |
| Clause 4.1 | Chief Manager (Chemistry), IDWE | Head, Quality Assurance Lab, IDWE | Director / Head, IDWE |

REVISION HISTORY

| Revision | Date | Description | Changed By |
| --- | --- | --- | --- |
| Rev.00 | March 2026 | Initial Issue – prepared for NABL Accreditation application. | CM Chemistry |

1.  Purpose

To establish a systematic process for identifying, assessing and managing risks to the impartiality of all IDWE QA Laboratory activities, and to demonstrate the laboratory's ongoing commitment to conducting testing objectively and free from commercial, financial or any other bias, in full conformance with ISO/IEC 17025:2017 Clause 4.1.

2.  Scope

This procedure applies to:

•  All laboratory activities and results produced by the IDWE QA Laboratory.

•  All personnel — permanent, contractual, seconded, trainee or visiting — who perform or influence laboratory activities.

•  All relationships with external parties that could present a risk to impartiality, including ONGC procurement, chemical suppliers, calibration service providers, and NABL assessors.

3.  Definitions and Abbreviations

| Term / Abbreviation | Definition / Meaning |
| --- | --- |
| Impartiality | Presence of objectivity. Conflicts of interest do not exist, or are resolved so as not to adversely influence laboratory activities (ISO/IEC 17025:2017 Clause 3.1). |
| Conflict of Interest (CoI) | A situation where personal, financial, organisational or other interests of a person may improperly influence the performance, outcome or reporting of laboratory activities. |
| Impartiality Risk | Any relationship or circumstance—arising from ownership, governance, management, personnel, shared resources, finances, contracts or marketing—that could introduce bias into laboratory activities. |
| Risk Register | A controlled document recording identified impartiality risks, their assessed likelihood and severity, mitigation controls, and review status. |
| ONGC | Oil and Natural Gas Corporation Limited – the parent organisation and primary customer of the IDWE QA Laboratory. |
| IDWE | Institute of Drilling and Well Engineering, ONGC, Dehradun. |
| SOP | Standard Operating Procedure. |
| NC | Nonconformity – failure to meet a specified requirement. |
| CAPA | Corrective and Preventive Action. |
| Lab Head | Head, Quality Assurance Laboratory, IDWE – Chief Manager (Chemistry) or equivalent. |

4.  Responsibilities

| Role / Personnel | Responsibility |
| --- | --- |
| Laboratory Head | Ultimate responsibility for the impartiality of all laboratory activities. Signs and owns the Impartiality Policy. Chairs the annual Impartiality Review. Investigates any reported impartiality concern. Makes the final determination on risk mitigation measures. |
| Quality Manager / Senior Chemist | Maintains the Impartiality Risk Register (REC-01B). Collects and files Conflict of Interest Declarations (REC-01A) from all personnel annually. Coordinates the annual review. Notifies Lab Head of any newly identified risks within 24 hours. |
| All Laboratory Personnel | Complete and submit REC-01A on date of joining and every subsequent January. Immediately report any actual or potential conflict of interest to the Quality Manager or Lab Head in writing. Perform only those laboratory activities for which they are authorised and have no conflict. |
| IDWE Management / ONGC Corporate | Supports the laboratory's independence. Does not exert commercial, financial or any other pressure that could compromise impartiality. Acknowledges the Impartiality Policy at Management Review. |

5.  Procedure

5.1  Impartiality Policy

The Laboratory Head shall document and sign the Impartiality Policy as a section of the Quality Manual (QM-01). The policy shall explicitly state:

•  The laboratory's commitment to performing all activities impartially and free from conflict of interest.

•  The laboratory's recognition that commercial, financial or other pressures do not influence its technical judgements or reported results.

•  The laboratory's responsibility to identify, evaluate and eliminate or minimise all impartiality risks on an ongoing basis.

The signed policy shall be posted prominently in the laboratory, communicated to all personnel at induction, and reviewed annually at Management Review.

5.2  Risk Identification

The Quality Manager shall conduct an annual impartiality risk identification exercise, covering the following risk categories:

•  Commercial / Financial Pressure:  Pressure from ONGC procurement department or ONGC Management to pass a marginal or non-conforming chemical lot. Financial incentive (formal or informal) from a chemical supplier to favour their product.

•  Ownership / Governance:  As ONGC is both the parent organisation and the primary customer of the laboratory, the inherent risk that institutional pressure could influence test outcomes shall be assessed annually.

•  Personnel Relationships:  Laboratory staff having personal, familial or business relationships with representatives of chemical suppliers, calibration labs or other organisations whose products are tested or used.

•  Dual Roles:  Any laboratory personnel who simultaneously hold a role in ONGC procurement, chemical tendering, or vendor selection for any chemical that the laboratory tests.

•  Shared Resources:  Use of equipment, reagents, facilities or data owned by or shared with an organisation that has a financial interest in the test outcome.

•  Marketing / Branding:  Any arrangement where the laboratory's name, logo or test results are used in commercial promotion of a specific chemical product without appropriate disclosure.

All identified risks shall be entered in the Impartiality Risk Register (REC-01B) with source, category, initial risk score and proposed control.

5.3  Risk Assessment

Each identified risk shall be scored using the following matrix:

| Risk Score Matrix | Severity 1–2 (Low Impact) | Severity 3 (Moderate Impact) | Severity 4–5 (High/Critical Impact) |
| --- | --- | --- | --- |
| Likelihood 1–2 (Unlikely) | Low (1–4) – Monitor | Medium (3–6) – Implement control | Medium (4–10) – Action required |
| Likelihood 3 (Possible) | Medium (3–6) – Implement control | High (9) – Immediate action | High/Critical (12–15) – Escalate |
| Likelihood 4–5 (Likely/Near Certain) | High (4–10) – Immediate action | Critical (12–15) – Escalate | Critical (16–25) – Escalate to COI-IDWE |

Risk Score = Likelihood (1–5)  ×  Severity (1–5)

•  Low (1–4):   Record in register; review annually.

•  Medium (5–9):   Implement defined control measures; review semi-annually.

•  High (10–16):   Immediate control action required; Lab Head decision; reviewed quarterly.

•  Critical (17–25):   Escalate to IDWE Director; formal written action plan within 5 working days.

5.4  Risk Controls

For each risk with score ≥ 5, the Quality Manager shall define specific control measures. Standard controls applicable to IDWE QA Laboratory:

•  Segregation of duties:  Personnel who are involved in procurement, tendering or vendor selection of chemicals shall not be assigned to test those same chemicals. This shall be documented in the organisational structure (QM-01).

•  Blind allocation of samples:  Where practicable, the analyst shall be unaware of the supplier identity of the chemical lot being tested. The LSN (Laboratory Sample Number) is used as the identifier; supplier name is not written on the sample label presented to the analyst.

•  Independent result review:  Any test result for a chemical lot where a potential conflict of interest has been declared by the assigned analyst shall be independently reviewed by the Laboratory Head before report issue.

•  Impartiality declarations:  Annual completion of REC-01A by all personnel.

•  Escalation channel:  Any personnel member may escalate an impartiality concern directly to the IDWE Director without going through the Lab Head if the concern involves the Lab Head.

5.5  Annual Impartiality Review

The Laboratory Head shall chair an annual Impartiality Review meeting in January of each year (or more frequently if a significant new risk is identified). The review shall:

1.  Review the current Impartiality Risk Register (REC-01B) for completeness.

2.  Assess whether existing controls remain effective (e.g., no impartiality incidents in the past year).

3.  Identify any new risks arising from changes in personnel, customer relationships, or organisational structure.

4.  Review all Conflict of Interest Declarations (REC-01A) received in the past 12 months.

5.  Record minutes and agreed actions in the Annual Impartiality Review Minutes (REC-01C).

Findings shall be reported at the Annual Management Review (SOP-QS-24). Any new risk identified outside the annual cycle shall be added to the register and actioned within 14 calendar days.

5.6  Reporting Impartiality Concerns

Any person who identifies or suspects an impartiality risk shall report it to the Quality Manager (or Lab Head) in writing without delay. The Lab Head shall:

1.  Investigate the concern within 5 working days.

2.  Document findings and any immediate corrective actions.

3.  Update the Risk Register.

4.  Raise a CAPA (SOP-QS-22) if the risk has already materialised into an actual impartiality incident.

If the concern involves the Laboratory Head directly, it shall be escalated to the IDWE Director.

6.  Quality Controls

•  The Impartiality Risk Register (REC-01B) shall be reviewed and signed by the Laboratory Head at least annually.

•  All Conflict of Interest Declarations (REC-01A) shall be collected by 31 January each year; outstanding declarations shall be chased within 5 working days.

•  Any actual impartiality breach shall be treated as a Major Nonconformity; a CAPA (SOP-QS-22) shall be raised and the NABL accreditation body shall be notified if required.

•  Impartiality Policy, Risk Register and Declarations shall be available to NABL assessors on request.

7.  References

•  ISO/IEC 17025:2017 – General Requirements for the Competence of Testing and Calibration Laboratories, Clause 4.1

•  NABL 100 – NABL Accreditation Criteria and Guidance

•  NABL 112 – Specific Criteria for Accreditation of Chemical Testing Laboratories

•  QM-01 – IDWE QA Laboratory Quality Manual (Impartiality Policy section)

•  SOP-QS-22 – Corrective Action Procedure (CAPA)

•  SOP-QS-24 – Management Review Procedure

8.  Associated Records

| Record ID | Record Title | Retention Period |
| --- | --- | --- |
| REC-01A | Personnel Conflict of Interest Declaration Form | 5 years after date of declaration |
| REC-01B | Impartiality Risk Register | 5 years (current + 2 superseded versions) |
| REC-01C | Annual Impartiality Review Minutes | 5 years |

ANNEX – RECORD TEMPLATE   REC-01A   |   Personnel Conflict of Interest Declaration Form

Related Procedure: SOP-QS-01 | ISO/IEC 17025:2017 Clause 4.1   |   ISO/IEC 17025:2017   |   Rev.00   |   March 2026

SECTION A – DECLARANT DETAILS

| Full Name (Block Capitals): |  |
| --- | --- |
| Employee No. / Staff ID: |  |
| Designation / Role in IDWE QA Lab: |  |
| Date of this Declaration: |  |
| Declaration Type: | [ ] Annual (Year: ________) [ ] On Joining (Date: _________) [ ] Triggered (Reason: _____) |
| Period Covered: | Calendar year __________ or from ____________ to ____________ |

SECTION B – CONFLICT OF INTEREST QUESTIONS

Answer each question honestly. If you are unsure, select YES and provide details.

| Question | YES | NO | Details / Comments |
| --- | --- | --- | --- |
| Do you hold any direct or indirect financial interest (shares, commission, loans, gifts) in any company that supplies chemicals tested by the IDWE QA Laboratory? | [ ] | [ ] |  |
| Do you have any personal, familial or close social relationship with a representative of a chemical supplier whose products are tested here? | [ ] | [ ] |  |
| Are you involved — currently or in the past 12 months — in procurement, tendering, vendor evaluation or selection of any chemical that you also test? | [ ] | [ ] |  |
| Do you hold any external role (consultancy, advisory, employment) with any organisation whose products or services could influence your test results? | [ ] | [ ] |  |
| Have you received any gift, hospitality, or benefit valued over ₹500 from any chemical supplier in the past 12 months? | [ ] | [ ] |  |
| Is there any other circumstance — not covered above — that could create an actual or perceived conflict of interest in your laboratory work? | [ ] | [ ] |  |

SECTION C – DETAILS OF DECLARED CONFLICTS (complete if any YES answer above)

Describe the nature of the conflict, the parties involved, and any steps already taken to mitigate it:

SECTION D – DECLARATION STATEMENT

I declare that the information provided in this form is true, complete and accurate to the best of my knowledge. I understand my obligation to promptly inform the Quality Manager or Laboratory Head of any change in circumstances that creates or could create a conflict of interest — without waiting for the next annual declaration cycle.

| Declarant Name: _________________________ Signature: _____________________ Date: __________________________ | Received By (Quality Manager) Name: _________________________ Signature: _____________________ Date: __________________________ | Reviewed By (Lab Head) Name: _________________________ Signature: _____________________ Date: __________________________ |
| --- | --- | --- |

SECTION E – QUALITY MANAGER REVIEW NOTE

| Conflict Declared: (Y / N) | [ ] YES – Risk Register (REC-01B) updated on: ____________ [ ] NO – No action required |
| --- | --- |
| Action Taken / Reference: |  |
| Date Filed: |  |

ANNEX – RECORD TEMPLATE   REC-01B   |   Impartiality Risk Register

Related Procedure: SOP-QS-01 | ISO/IEC 17025:2017 Clause 4.1   |   ISO/IEC 17025:2017   |   Rev.00   |   March 2026

Instructions for Use: Review this register at least annually. Assign a risk ID to each new risk. Calculate Risk Score = Likelihood × Severity. Implement controls for all risks with score ≥ 5. Update 'Last Review' date after each review. Lab Head signs at bottom.

| Risk ID | Risk Description | Risk Category / Source | Likelihood (1–5) | Severity (1–5) | Risk Score | Priority (L/M/H/C) | Control Measures in Place | Status / Last Reviewed |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| R-01 | Commercial pressure from procurement to pass marginal lot | Commercial / Financial | __ | __ | __ | __ | Segregation of duties; independent report review by Lab Head |  |
| R-02 | Staff with personal relationship with supplier representative | Personnel | __ | __ | __ | __ | Annual declaration (REC-01A); reassignment if conflict confirmed |  |
| R-03 | Staff dual role – procurement + testing of same chemical | Governance / Personnel | __ | __ | __ | __ | Role separation documented in org chart; Lab Head approval required for any deviation |  |
| R-04 | ONGC ownership and institutional pressure on test outcome | Ownership / Governance | __ | __ | __ | __ | Impartiality Policy; NABL accreditation accountability; escalation channel to IDWE Director |  |
| R-05 | Use of supplier-provided reagents/reference samples that may bias results | Shared Resources | __ | __ | __ | __ | All reagents from approved list (SOP-QS-07); CoA verified; QC control chart monitoring |  |
| R-06 | Laboratory results used in supplier marketing without disclosure | Marketing / Branding | __ | __ | __ | __ | Written approval of Lab Head required for any use of IDWE results in commercial communications |  |

Note: Likelihood scale: 1=Remote, 2=Unlikely, 3=Possible, 4=Likely, 5=Near Certain. Severity scale: 1=Negligible, 2=Minor, 3=Moderate, 4=Major, 5=Critical.

| Prepared By (Quality Manager) Name: _________________________ Signature: _____________________ Date: __________________________ | Reviewed By Name: _________________________ Signature: _____________________ Date: __________________________ | Approved By (Lab Head) Name: _________________________ Signature: _____________________ Date: __________________________ |
| --- | --- | --- |

ANNEX – RECORD TEMPLATE   REC-01C   |   Annual Impartiality Review Minutes

Related Procedure: SOP-QS-01 | ISO/IEC 17025:2017 Clause 4.1   |   ISO/IEC 17025:2017   |   Rev.00   |   March 2026

| Meeting Date: |  |
| --- | --- |
| Meeting Chaired By: |  |
| Venue / Mode: | IDWE QA Laboratory, Dehradun / Online |
| Meeting Reference No.: | IDWE/QA/IMPAR/[Year]/[No.] |

ATTENDEES

| Name | Designation | Signature |
| --- | --- | --- |

AGENDA AND DISCUSSION

| Item | Agenda Point | Discussion Summary / Decision / Action |
| --- | --- | --- |
| 1 | Review of Impartiality Policy (QM-01) – is policy current and appropriate? |  |
| 2 | Review of Impartiality Risk Register (REC-01B) – any new risks identified? |  |
| 3 | Review of Conflict of Interest Declarations (REC-01A) received since last review – any declared conflicts? |  |
| 4 | Review of any impartiality concerns reported during the year – any incidents? |  |
| 5 | Effectiveness of existing control measures – are controls working? |  |
| 6 | Changes in personnel, relationships or organisational structure affecting impartiality |  |
| 7 | Actions for next review period |  |

OVERALL IMPARTIALITY STATUS

[ ]  No impartiality risks identified this period – all controls effective.

[ ]  Minor risks identified – controlled; no immediate action required (see Risk Register for updates).

[ ]  Significant risk identified – action required. See action items below.

| Action Items (if any): |  |
| --- | --- |
| Next Review Date: |  |
| Distribution List: |  |

| Prepared By (Quality Manager) Name: _________________________ Signature: _____________________ Date: __________________________ | Approved By (Lab Head) Name: _________________________ Signature: _____________________ Date: __________________________ |
| --- | --- |

OIL AND NATURAL GAS CORPORATION LIMITED

Institute of Drilling and Well Engineering (IDWE), Dehradun

Quality Assurance Laboratory

SOP-QS-02   –   Confidentiality Management Procedure

ISO/IEC 17025:2017  Clause 4.2

| Document ID | Document Title | Revision | Issue Date |
| --- | --- | --- | --- |
| SOP-QS-02 | Confidentiality Management Procedure | Rev.00 | March 2026 |
| ISO/IEC 17025:2017 | Prepared By | Reviewed By | Approved By |
| Clause 4.2 | Chief Manager (Chemistry), IDWE | Head, Quality Assurance Lab, IDWE | COI- IDWE |

REVISION HISTORY

| Revision | Date | Description | Changed By |
| --- | --- | --- | --- |
| Rev.00 | March 2026 | Initial Issue – prepared for NABL Accreditation application. | CM Chemistry |

1.  Purpose

To ensure that all information obtained or created during the performance of IDWE QA Laboratory activities is managed as confidential, protected from unauthorised disclosure, and that the laboratory meets its legally enforceable obligations to customers and other stakeholders regarding data privacy — in full conformance with ISO/IEC 17025:2017 Clause 4.2.

2.  Scope

This procedure applies to:

•  All test results, raw data, calculations, work orders, customer identities, sample details, test reports, quality records, and any other information generated or received during laboratory activities.

•  All laboratory personnel (permanent, contractual, seconded, trainee and visiting) and any external personnel acting on the laboratory's behalf.

•  All storage and communication media — paper files, electronic records, email, verbal communication, and presentations.

This procedure does NOT restrict the laboratory from disclosing information required by law or agreed in writing with the customer.

3.  Definitions and Abbreviations

| Term / Abbreviation | Definition / Meaning |
| --- | --- |
| Confidential Information | All information obtained or created during performance of laboratory activities, including customer identity, sample details, test methods applied, results and test reports — unless the customer has agreed to its public release or disclosure is required by law. |
| Legally Enforceable Commitment | A binding obligation to protect information, enforceable through employment contract terms, signed confidentiality agreements, or applicable law (e.g., ONGC confidentiality policy, Indian IT Act). |
| Legal Disclosure | Release of confidential information required by a valid legal order (court, regulatory authority, government directive) — permitted only after review per this procedure. |
| Customer | ONGC Procurement Department, ONGC Stores, ONGC Asset, or any authorised ONGC representative who places a test request with the IDWE QA Laboratory. |
| Third Party | Any person or organisation other than the IDWE QA Laboratory and the customer, including external assessors, auditors, suppliers and the public. |
| NABL | National Accreditation Board for Testing and Calibration Laboratories — access to records by NABL assessors is authorised within the scope of accreditation assessment and is NOT a breach of confidentiality. |

4.  Responsibilities

| Role / Personnel | Responsibility |
| --- | --- |
| Laboratory Head | Responsible for ensuring confidentiality commitments are in place for all personnel, contractors and visitors. Authorises any legal disclosure and notifies the customer (unless prohibited by law). Reviews confidentiality controls annually at Management Review. |
| Quality Manager | Maintains the Personnel/Contractor Confidentiality Agreement file (REC-02A). Manages the Legal Disclosure Log (REC-02B). Maintains the Visitor and Contractor Confidentiality Register (REC-02C). Monitors data access controls and reports breaches. |
| All Laboratory Personnel | Strictly maintain confidentiality of all laboratory information at all times — including after leaving employment. Immediately report any suspected or actual breach to the Quality Manager or Lab Head. |
| IT / System Administrator (IDWE) | Ensures electronic data access is controlled through individual user accounts, password policies, and access logging. Ensures automatic session lock and backup security. |
| Visitors and Contractors | Must sign REC-02A before entering the testing area or accessing any laboratory information. Must be escorted by authorised personnel at all times. |

5.  Procedure

5.1  Confidentiality Obligations for Personnel

All laboratory personnel shall have a confidentiality obligation formalised as follows:

•  Permanent ONGC employees:  Confidentiality is addressed in the ONGC employment terms. The Quality Manager shall confirm on joining that confidentiality obligations are understood; a signed acknowledgement (REC-02A) is retained.

•  Contractual / Seconded personnel:  Must sign REC-02A before commencing any laboratory work.

•  Trainees / Interns:  Must sign REC-02A on the first day of engagement.

•  External bodies acting on laboratory's behalf (calibration service technicians, equipment service engineers):  Must sign REC-02A before accessing any laboratory area or data.

Signed REC-02A forms are filed in the Personnel Confidentiality file, maintained by the Quality Manager. The file is reviewed annually to ensure all current personnel have current signed agreements.

5.2  Information Classification

All IDWE QA Laboratory information is classified as CONFIDENTIAL by default, unless explicitly designated otherwise:

| Classification | Description | Disclosure Permitted To |
| --- | --- | --- |
| CONFIDENTIAL | Test results, raw data, work orders, customer identity, reports, calculations, QC data, personnel records | Authorised lab personnel and the specific customer only |
| RESTRICTED CONFIDENTIAL | Impartiality risk register, conflict of interest declarations | Lab Head and Quality Manager only |
| PUBLIC (by agreement) | Any information the customer has agreed in writing to place in the public domain | As agreed with customer in writing |
| REGULATORY DISCLOSURE | Information required by law to be disclosed | Only to the specific authority requiring it, per Step 5.5 |

5.3  Data Access Controls

•  Paper records:  Stored in labelled, locked filing cabinets in the laboratory. Keys held by the Quality Manager (primary) and Laboratory Head (secondary). No paper record shall be removed from the laboratory without written authorisation from the Lab Head.

•  Electronic records:  Stored on the laboratory's designated computer/server. Individual user accounts with strong passwords (minimum 8 characters, changed every 6 months). Session auto-lock after 10 minutes of inactivity. No sharing of login credentials permitted.

•  Test reports:  Issued directly and only to the authorised customer contact named in the Work Order. Not shared electronically (email) to general distribution lists.

•  Laboratory area access:  The testing area is locked when unattended. All visitors sign the Visitor Register (part of REC-02C) and are escorted at all times.

•  Verbal information:  Laboratory personnel shall not discuss customer test results in public areas, open offices, or canteens.

5.4  Handling Information from Third-Party Sources

Information about a customer received from a source other than the customer (e.g., a complainant, a regulator, or another ONGC department) shall:

1.  Be treated as confidential between that source and the laboratory.

2.  Not be shared with the customer unless the source agrees to disclosure.

3.  Be logged and handled per Step 5.5 if it is from a regulatory authority.

5.5  Legal Disclosure

If the laboratory receives a legal order (from a court, regulatory authority, or government directive) requiring disclosure of confidential information:

1.  Do NOT disclose immediately. Forward the order to the Laboratory Head on the day of receipt.

2.  Lab Head reviews the order with ONGC Legal department (as applicable) to confirm validity and scope.

3.  Unless prohibited by the order itself, notify the customer in writing before disclosure, informing them of the nature of the disclosure.

4.  Disclose only the minimum information necessary to satisfy the legal requirement.

5.  Record the disclosure in the Legal Disclosure Log (REC-02B): date, authority name, nature of information disclosed, whether customer was notified, and authorised by.

Routine access by NABL assessors and auditors to laboratory records within the scope of the accreditation assessment is authorised and is NOT a legal disclosure. Provide full cooperation to NABL assessors.

5.6  Visitor and Contractor Management

1.  All visitors (including NABL assessors, equipment service engineers, ONGC audit teams, and guests) shall sign REC-02A (Confidentiality Agreement) before accessing any laboratory area.

2.  All visitors shall be registered in the Visitor and Contractor Confidentiality Register (REC-02C): name, organisation, purpose, date/time of entry and exit, IDWE escort name.

3.  Visitors shall be escorted by an authorised laboratory staff member at all times within the laboratory.

4.  No visitor shall be granted access to locked records cabinets or the electronic data system without explicit Lab Head authorisation.

5.7  Confidentiality Breach Management

A confidentiality breach includes: unauthorised disclosure of test results; sharing of customer data without consent; loss of paper records; or electronic data accessed by an unauthorised person.

•  Any actual or suspected breach shall be immediately reported to the Laboratory Head.

•  The Laboratory Head shall investigate within 2 working days and document findings.

•  The affected customer shall be notified of the breach within 5 working days.

•  A CAPA (SOP-QS-22) shall be raised to prevent recurrence.

•  Serious breaches shall be reported to ONGC Legal and, if required by NABL rules, to NABL.

5.8  Annual Confidentiality Review

The Quality Manager shall review confidentiality controls annually as part of the Management Review (SOP-QS-24) preparation package. This review shall include: audit of access control currency, personnel agreement completeness, visitor register review, and any confidentiality incidents in the past year.

6.  Quality Controls

•  A confidentiality breach shall be treated as a Nonconforming Work incident (SOP-QS-16) and a CAPA shall be raised.

•  Personnel confidentiality training shall be included in the induction programme and refreshed annually.

•  The Legal Disclosure Log (REC-02B) shall be reviewed by the Lab Head annually and at Management Review.

•  Signed confidentiality agreements (REC-02A) shall be renewed on any significant change of role or engagement terms.

7.  References

•  ISO/IEC 17025:2017 – General Requirements for the Competence of Testing and Calibration Laboratories, Clause 4.2

•  NABL 100 – NABL Accreditation Criteria and Guidance

•  ONGC Confidentiality and Data Protection Policy (internal document)

•  Information Technology Act, 2000 (India) – for electronic data obligations

•  QM-01 – IDWE QA Laboratory Quality Manual

•  SOP-QS-16 – Nonconforming Work Management Procedure

•  SOP-QS-22 – Corrective Action Procedure (CAPA)

8.  Associated Records

| Record ID | Record Title | Retention Period |
| --- | --- | --- |
| REC-02A | Personnel / Contractor / Visitor Confidentiality Agreement | Duration of engagement + 3 years |
| REC-02B | Legal Disclosure Log | 5 years |
| REC-02C | Visitor and Contractor Confidentiality Register | 3 years |

ANNEX – RECORD TEMPLATE   REC-02A   |   Confidentiality Agreement

Related Procedure: SOP-QS-02 | ISO/IEC 17025:2017 Clause 4.2   |   ISO/IEC 17025:2017   |   Rev.00   |   March 2026

| Full Name (Block Capitals): |  |
| --- | --- |
| Designation / Organisation: |  |
| Employee No. / Contractor Ref.: |  |
| Nature of Engagement: | [ ] ONGC Employee [ ] Contractor [ ] Service Engineer [ ] Trainee/Intern [ ] Visitor |
| Engagement Period: | From: ____________________ To: ____________________ (or 'Ongoing' for permanent staff) |
| Date of Signing: |  |

DECLARATION

I, the undersigned, hereby agree and undertake as follows:

1.  I will keep strictly confidential all information obtained or created during my work at or for the IDWE Quality Assurance Laboratory, ONGC, Dehradun, including but not limited to: test results, raw data, customer identities, work orders, test methods, quality records, personnel information, and any other information about the laboratory's activities.

2.  I will not disclose any such information to any person or organisation outside the laboratory without the prior written authorisation of the Laboratory Head, except as required by a valid legal order handled per the laboratory's Confidentiality Management Procedure (SOP-QS-02).

3.  I will not remove any laboratory document, record, sample, or data storage medium from the laboratory without explicit written authorisation from the Laboratory Head.

4.  I will immediately report any actual or suspected breach of confidentiality to the Quality Manager or Laboratory Head.

5.  This obligation continues after the end of my engagement, employment, or visit — with no time limit.

6.  I understand that breach of this agreement may result in disciplinary action, termination of engagement, and/or legal proceedings.

| Signatory (Name + Signature) Name: _________________________ Signature: _____________________ Date: __________________________ | Witnessed By (Quality Manager) Name: _________________________ Signature: _____________________ Date: __________________________ | Noted By (Lab Head) Name: _________________________ Signature: _____________________ Date: __________________________ |
| --- | --- | --- |