ANNEX – RECORD TEMPLATE   REC-04A   |   Organisational Chart – IDWE QA Laboratory

Related Procedure: SOP-STR-01   |   ISO/IEC 17025:2017 Clause 5   |   Rev.00   |   March 2026

| Document Ref.: | REC-04A |
| --- | --- |
| Version / Date: | Rev.00 ¦ March 2026 |
| Approved By: | Director / Head, IDWE |
| Next Review Date: | March 2027 (or on personnel change, whichever is earlier) |

IDWE QA LABORATORY – ORGANISATIONAL CHART

(Update post-holder names when issuing controlled copies)

ONGC Corporate Oil and Natural Gas Corporation Limited (Government of India Enterprise)

▼

COI, IDWE Institute of Drilling and Well Engineering, Dehradun

▼

Laboratory Head Chief Manager (Chemistry) ¦ Quality Assurance Laboratory, IDWE

| Quality Manager / Senior Chemist Management system • Document control • Audits • CAPA • Records • Training coordination | Technical Operations Testing • Equipment • Sample management • Calibration • QC monitoring |
| --- | --- |

▼

| Senior Chemist Method verification • Report review • Analyst training | Chemist Authorised testing • Worksheet recording • Calculations | Lab Technician Sample preparation • Glassware • Reagent support |
| --- | --- | --- |

Note: Post-holder names, qualifications and authorisation status are in Job Descriptions (REC-04C) and Personnel Authorization Register (REC-03B). This chart shows roles and reporting lines only.

| Prepared By (Quality Manager) Name: _________________________ Signature: _____________________ Date: __________________________ | Approved By (Lab Head) Name: _________________________ Signature: _____________________ Date: __________________________ | Noted By (Director, IDWE) Name: _________________________ Signature: _____________________ Date: __________________________ |
| --- | --- | --- |

ANNEX – RECORD TEMPLATE   REC-04B   |   Scope of Accreditation Register

Related Procedure: SOP-STR-01 | ISO/IEC 17025:2017 Clause 5.3   |   ISO/IEC 17025:2017 Clause 5   |   Rev.00   |   March 2026

| Laboratory Name: | IDWE Quality Assurance Laboratory, ONGC, Dehradun |
| --- | --- |
| Laboratory Address: | Institute of Drilling and Well Engineering, ONGC, Kaulagarh Road, Dehradun – 248 195, Uttarakhand, India |
| NABL Accreditation No.: | (To be assigned upon NABL accreditation) |
| ISO/IEC 17025 Version: | ISO/IEC 17025:2017 (Third Edition, November 2017) |
| Scope Register Version: | Rev.00 ¦ March 2026 |
| Approved By: | Laboratory Head ¦ Date: March 2026 |
| Next Review Date: | March 2027 (or on scope change, whichever is earlier) |

SCOPE STATEMENT

The IDWE QA Laboratory is accredited / seeks accreditation to perform quality testing of the following oilfield drilling fluid chemicals against ONGC Corporate Specifications, using the ONGC Corporate Test Procedures as listed:

CHEMICAL 1 — BENTONITE

| Test Parameter | ONGC Test Method Reference | Specification Limit | Unit | Remarks |
| --- | --- | --- | --- | --- |
| Physical State | ONGC Test Proc Vol-I / MC/04 | Free-flowing powder, free from visible impurities | Visual | Pass / Fail |
| Moisture Content (105±2°C) | ONGC Test Proc Vol-I / MC/04 | ≤ 12.0 | % by mass | Maximum |
| Sand Content – wet method (200 mesh BSS) | ONGC Test Proc Vol-I / MC/04 | ≤ 2.0 | % by mass | Maximum |
| Dry Screen Analysis (100 mesh BSS, fraction passing) | ONGC Test Proc Vol-I / MC/04 | ≥ 98.0 | % by mass | Minimum |
| Apparent Viscosity (7.5% w/v, 24±2°C) | ONGC Test Proc Vol-I / MC/04 | ≥ 15 | cP | Minimum |
| Plastic Viscosity (7.5% w/v, 24±2°C) | ONGC Test Proc Vol-I / MC/04 | ≥ 6 | cP | Minimum |
| Yield Point (7.5% w/v, 24±2°C) | ONGC Test Proc Vol-I / MC/04 | YP ≤ 4 × PV | lbs/100 sq.ft | Ratio limit |
| Filtration Loss (100 psi, 30 min, 24±2°C) | ONGC Test Proc Vol-I / MC/04 | ≤ 15.0 | ml | Maximum |

ONGC Specification: ONGC/MC/04/2015   |   ONGC Material Code: 100101003

CHEMICAL 2 — POLYANIONIC CELLULOSE – LOW VISCOSITY GRADE (PAC LVG)

| Test Parameter | ONGC Test Method Reference | Specification Limit | Unit | Remarks |
| --- | --- | --- | --- | --- |
| Physical State | ONGC Test Proc Vol-I / MC/48 | Free-flowing powder, free from visible impurities | Visual | Pass / Fail |
| Moisture Content (105±2°C) | ONGC Test Proc Vol-I / MC/48 | ≤ 10.0 | % by mass | Maximum |
| AV of 1% w/v suspension in Distilled Water (24±2°C) | ONGC Test Proc Vol-I / MC/48 | ≤ 20 | cP | Maximum |
| AV of 1% w/v suspension in 4% NaCl (24±2°C) | ONGC Test Proc Vol-I / MC/48 | ≤ 16 | cP | Maximum |
| Yield of 15 cP suspension in Distilled Water | ONGC Test Proc Vol-I / MC/48 | ≥ 90 | m³/MT | Minimum |
| Yield of 15 cP suspension in 4% NaCl | ONGC Test Proc Vol-I / MC/48 | ≥ 70 | m³/MT | Minimum |
| Sodium CMC content (dry basis) | ONGC Test Proc Vol-I / MC/48 | ≥ 85.0 | % by mass | Minimum |
| Degree of Substitution | ONGC Test Proc Vol-I / MC/48 | ≥ 0.90 | – | Minimum |
| Performance tests in FW and SW mud (AV, YP, API FL) | ONGC Test Proc Vol-I / MC/48 | Per specification multiplier limits | cP / lbs/100 ft² / ml | See ONGC/MC/48 |
| Borate Sensitivity Test | ONGC Test Proc Vol-I / MC/48 | No stiff gel formation | Visual | Pass / Fail |

ONGC Specification: ONGC/MC/48/2015   |   ONGC Material Code: 100213267

CHEMICAL 3 — POLYANIONIC CELLULOSE – REGULAR GRADE (PAC RG)

| Test Parameter | ONGC Test Method Reference | Specification Limit | Unit | Remarks |
| --- | --- | --- | --- | --- |
| Physical State | ONGC Test Proc Vol-I / MC/49 | Free-flowing powder, free from visible impurities | Visual | Pass / Fail |
| Moisture Content (105±2°C) | ONGC Test Proc Vol-I / MC/49 | ≤ 10.0 | % by mass | Maximum |
| AV of 1% w/v suspension in Distilled Water (24±2°C) | ONGC Test Proc Vol-I / MC/49 | ≥ 60 | cP | Minimum |
| AV of 1% w/v suspension in 4% NaCl (24±2°C) | ONGC Test Proc Vol-I / MC/49 | ≥ 50 | cP | Minimum |
| Yield of 15 cP suspension in Distilled Water | ONGC Test Proc Vol-I / MC/49 | ≥ 250 | m³/MT | Minimum |
| Yield of 15 cP suspension in 4% NaCl | ONGC Test Proc Vol-I / MC/49 | ≥ 200 | m³/MT | Minimum |
| Sodium CMC content (dry basis) | ONGC Test Proc Vol-I / MC/49 | ≥ 85.0 | % by mass | Minimum |
| Degree of Substitution | ONGC Test Proc Vol-I / MC/49 | ≥ 1.0 | – | Minimum |
| Performance tests in FW and SW mud (AV, YP, API FL) | ONGC Test Proc Vol-I / MC/49 | Per specification multiplier limits | cP / lbs/100 ft² / ml | See ONGC/MC/49 |
| Borate Sensitivity Test | ONGC Test Proc Vol-I / MC/49 | No stiff gel formation | Visual | Pass / Fail |

ONGC Specification: ONGC/MC/49/2015   |   ONGC Material Code: 100101244

CHEMICAL 4 — PRE-GELATINIZED STARCH

| Test Parameter | ONGC Test Method Reference | Specification Limit | Unit | Remarks |
| --- | --- | --- | --- | --- |
| Physical State | ONGC Test Proc Vol-I / MC/57 | Free-flowing powder, free from lumps | Visual | Pass / Fail |
| Moisture Content (105±2°C) | ONGC Test Proc Vol-I / MC/57 | ≤ 10.0 | % by mass | Maximum |
| pH of 2% w/v solution in Distilled Water (24±2°C) | ONGC Test Proc Vol-I / MC/57 | ≥ 10.0 | pH units | Minimum |
| pH after ageing at 24±2°C for 120 hrs | ONGC Test Proc Vol-I / MC/57 | Drop ≤ 2.0 units vs. fresh | pH units | Maximum drop |
| AV of 2% w/v solution in Distilled Water (24±2°C) | ONGC Test Proc Vol-I / MC/57 | ≤ 20.0 | cP | Maximum |
| AV after ageing at 24±2°C for 120 hrs | ONGC Test Proc Vol-I / MC/57 | Drop ≤ 3.0 cP vs. fresh | cP | Maximum drop |
| Qualitative test for presence of Starch (iodine test) | ONGC Test Proc Vol-I / MC/57 | Positive (blue colour) | Visual | Pass / Fail |
| AV of NDDF base mud treated with 3% w/v sample (24±2°C) | ONGC Test Proc Vol-I / MC/57 | ≤ 35.0 | cP | Maximum |
| API Filtration Loss of treated NDDF base mud | ONGC Test Proc Vol-I / MC/57 | ≤ 45% of base mud value | ml | Maximum ratio |
| AV of treated base mud after ageing 120 hrs (24±2°C) | ONGC Test Proc Vol-I / MC/57 | Variation ≤ ±5 cP from treated base mud | cP | Max. variation |
| API FL of treated base mud after ageing 120 hrs | ONGC Test Proc Vol-I / MC/57 | ≤ 50% of base mud value | ml | Maximum ratio |

ONGC Specification: ONGC/MC/57/2015 (1st Revision 2023)   |   ONGC Material Code: 100203902

CHEMICAL 5 — XC POLYMER FOR DRILLING FLUIDS

| Test Parameter | ONGC Test Method Reference | Specification Limit | Unit | Remarks |
| --- | --- | --- | --- | --- |
| Physical State | ONGC Test Proc Vol-I / MC/73 | Free-flowing powder, free from lumps | Visual | Pass / Fail |
| Qualitative Starch / Iodine Test | ONGC Test Proc Vol-I / MC/73 | Absent / Negative | Visual | Pass / Fail |
| Moisture Content (105±2°C) | ONGC Test Proc Vol-I / MC/73 | ≤ 15.0 | % by mass | Maximum |
| AV of 0.5% w/v suspension in NaCl (24±2°C) | ONGC Test Proc Vol-I / MC/73 | 15 – 25 | cP | Range |
| Gel₀ of 0.5% w/v suspension in NaCl (24±2°C) | ONGC Test Proc Vol-I / MC/73 | ≥ 5.0 | lbs/100 sq.ft | Minimum |
| n-value (at 200 & 100 rpm) | ONGC Test Proc Vol-I / MC/73 | ≤ 0.4 | – | Maximum |
| Rotational Viscometer F0.2 spring @ 300 rpm | ONGC Test Proc Vol-I / MC/73 | ≥ 11 | mPa.s (cP) | Minimum |
| Rotational Viscometer F0.2 spring @ 6 rpm | ONGC Test Proc Vol-I / MC/73 | ≥ 180 | mPa.s (cP) | Minimum |
| Rotational Viscometer F0.2 spring @ 3 rpm | ONGC Test Proc Vol-I / MC/73 | ≥ 320 | mPa.s (cP) | Minimum |
| Brookfield Viscometer @ 1.5 rpm | ONGC Test Proc Vol-I / MC/73 | ≥ 1950 | mPa.s (cP) | Minimum |
| Performance in Bentonite suspension – before hot-roll (AV, YP, API FL) | ONGC Test Proc Vol-I / MC/73 | Record values | cP / lbs/100 ft² / ml | For information |
| Performance after hot-rolling 100±5°C / 18 hrs (AV, YP no decrease; API FL no increase) | ONGC Test Proc Vol-I / MC/73 | No decrease / no increase vs pre-hot-roll | cP / lbs/100 ft² / ml | Pass / Fail |
| Borate Sensitivity Test (RPM 600 and 300 increase after Borax addition) | ONGC Test Proc Vol-I / MC/73 | ≤ 5 units increase | dial reading | Pass / Fail |

ONGC Specification: ONGC/MC/73/2015 (1st Revision 2025)   |   ONGC Material Code: 100101210

| Prepared By (Quality Manager) Name: _________________________ Signature: _____________________ Date: __________________________ | Reviewed By Name: _________________________ Signature: _____________________ Date: __________________________ | Approved By (Lab Head) Name: _________________________ Signature: _____________________ Date: __________________________ |
| --- | --- | --- |

ANNEX – RECORD TEMPLATE   REC-04C   |   Job Descriptions – IDWE QA Laboratory

Related Procedure: SOP-STR-01 | ISO/IEC 17025:2017 Clauses 5.5(b) & 6.2   |   ISO/IEC 17025:2017 Clause 5   |   Rev.00   |   March 2026

JOB DESCRIPTION 1 — LABORATORY HEAD / CHIEF MANAGER (CHEMISTRY)

| Designation: | Laboratory Head / Chief Manager (Chemistry), IDWE QA Laboratory |
| --- | --- |
| Reports To: | Director / Head, IDWE |
| Supervises: | Quality Manager, Senior Chemists, Chemists, Lab Technicians |
| Min. Qualification: | M.Sc. Chemistry from a recognised university |
| Min. Experience: | 10 years in oilfield/drilling fluid chemistry; 3+ years in NABL or equivalent accredited laboratory |
| Technical Competencies: | Drilling fluid chemistry; all ONGC test procedures MC/04, 48, 49, 57, 73; ISO/IEC 17025 requirements; measurement uncertainty estimation; NABL accreditation process; method verification and validation |
| Management Competencies: | Leadership and decision-making; quality management; audit management; resource planning; customer communication |

Key Responsibilities:

•  Overall technical and quality authority for the IDWE QA Laboratory. Responsible for validity and integrity of all test results and reports.

•  Owns and maintains the Quality Manual (QM-01) and all structural documents (REC-04A to REC-04E).

•  Ensures ISO/IEC 17025:2017 and NABL accreditation requirements are fully implemented and maintained.

•  Signs all Test Reports as the Authorised Signatory (or delegates in writing to a nominated Senior Chemist).

•  Chairs annual Management Review (SOP-QS-24) and Annual Impartiality Review (SOP-QS-01).

•  Approves all CAPAs (SOP-QS-22), authorises work resumption after NCW, and approves all method deviations.

•  Communicates management system requirements and quality objectives to all personnel.

•  Ensures integrity of the management system during planned changes (Step 5.7 of this procedure).

•  Liaises with NABL assessors and ONGC procurement as the primary technical representative (TRP).

•  Reviews and approves equipment procurement, calibration contracts, and PT scheme enrolment.

JOB DESCRIPTION 2 — QUALITY MANAGER / SENIOR CHEMIST

| Designation: | Quality Manager / Senior Chemist, IDWE QA Laboratory |
| --- | --- |
| Reports To: | Laboratory Head |
| Supervises: | Chemists, Lab Technicians (day-to-day technical oversight) |
| Min. Qualification: | M.Sc. Chemistry from a recognised university |
| Min. Experience: | 5 years in chemical testing laboratory; familiarity with ISO/IEC 17025 or equivalent QMS |
| Technical Competencies: | All IDWE test parameters; method verification; measurement uncertainty evaluation; QC control charting; equipment calibration coordination; proficiency testing |

Key Responsibilities:

•  Day-to-day implementation and maintenance of the quality management system under Lab Head direction.

•  Maintains all controlled documents per SOP-QS-18: Document Master List, SOPs, record templates, external document register.

•  Manages the equipment calibration schedule; liaises with NABL-accredited calibration laboratories.

•  Maintains QC control charts; reviews QC data weekly; identifies and responds to out-of-control conditions.

•  Conducts or coordinates personnel training and maintains all training records (REC-03C).

•  Reviews draft test reports before submission to Lab Head for authorisation.

•  Coordinates CAPA process (SOP-QS-22), internal audits (SOP-QS-23), and PT participation (SOP-QS-13).

•  Performs witnessed test assessments (REC-03D) for analyst authorisation.

•  Maintains all impartiality, confidentiality, visitor and change management records.

•  Prepares Management Review input report and records minutes.

JOB DESCRIPTION 3 — SENIOR CHEMIST

| Designation: | Senior Chemist, IDWE QA Laboratory |
| --- | --- |
| Reports To: | Quality Manager / Laboratory Head |
| Min. Qualification: | M.Sc. Chemistry from a recognised university |
| Min. Experience: | 2–5 years in chemical testing; drilling fluid testing experience preferred |
| Technical Competencies: | Proficient in all IDWE test procedures; correct calculation of AV, PV, YP, API FL, moisture, NaCMC, DS, Yield; equipment operation; QC monitoring; method verification |

Key Responsibilities:

•  Performs testing for chemicals and parameters as authorised in REC-03B per the relevant ONGC test procedure.

•  Prepares base muds (bentonite, NDDF) and test suspensions exactly per ONGC test procedure requirements.

•  Records all raw data directly on controlled test worksheets at the bench at the time of measurement.

•  Reviews and checks worksheets and calculations prepared by Chemists before report preparation.

•  Performs daily intermediate checks on all critical equipment (Fann VG Meter, balance, pH meter).

•  Trains and supervises Chemists under the direction of the Quality Manager.

•  Reports equipment malfunction, QC anomaly or procedural deviation to the Quality Manager immediately.

JOB DESCRIPTION 4 — CHEMIST

| Designation: | Chemist, IDWE QA Laboratory |
| --- | --- |
| Reports To: | Senior Chemist / Quality Manager |
| Min. Qualification: | B.Sc. Chemistry from a recognised university |
| Min. Experience: | 0–2 years; completion of in-house competence training (SOP-QS-03) required before independent testing |
| Technical Competencies: | Specific to authorised tests in REC-03B; develops with training and experience |

Key Responsibilities:

•  Performs testing only for parameters specifically authorised in the Personnel Authorization Register (REC-03B). Must not perform any unauthorised test.

•  Maintains laboratory cleanliness, glassware, and reagent storage in assigned areas.

•  Prepares reagent solutions per SOP instructions; labels and dates all prepared solutions with preparation date and expiry.

•  Records all raw data at the bench at the time of measurement; worksheets must be countersigned by supervisor until full independent authorisation is granted.

•  Reports any abnormality in samples, equipment, reagents or environmental conditions to the Senior Chemist immediately.

JOB DESCRIPTION 5 — LABORATORY TECHNICIAN

| Designation: | Laboratory Technician / Laboratory Assistant, IDWE QA Laboratory |
| --- | --- |
| Reports To: | Chemist / Senior Chemist |
| Min. Qualification: | Diploma in Chemistry or Science; or relevant ITI / vocational qualification |
| Min. Experience: | 0–2 years; on-the-job training required on joining |
| Technical Competencies: | Sample preparation; labelling; basic equipment support; housekeeping; reagent preparation support — all under supervision |

Key Responsibilities:

•  Sample receipt support: transport from stores, initial labelling, condition observation — all under direct supervision of an authorised Chemist.

•  Sample preparation: sub-sampling, weighing portions per analyst’s explicit instruction.

•  Glassware cleaning, drying and organising; oven loading and unloading under direction of Chemist.

•  Reagent stock monitoring: alerts Chemist when any reagent stock falls below minimum level.

•  Laboratory housekeeping; disposal of chemical waste per ONGC safety and environmental procedures.

•  DOES NOT perform independent testing. DOES NOT record primary test data without direct supervision.

| Prepared By (Quality Manager) Name: _________________________ Signature: _____________________ Date: __________________________ | Reviewed By Name: _________________________ Signature: _____________________ Date: __________________________ | Approved By (Lab Head) Name: _________________________ Signature: _____________________ Date: __________________________ |
| --- | --- | --- |