# SECTION 1: MASTER LIST OF PROCEDURES

The following is the complete list of procedures required for ISO/IEC 17025:2017 compliance at the IDWE QA Laboratory. Each procedure is uniquely identified, traceable to specific ISO clauses, and shall be documented, approved, controlled and maintained per SOP-QS-18.

## 2.1  Quality System Procedures (SOP-QS Series)

| Procedure ID | Procedure Title | Related ISO Clause(s) |
| --- | --- | --- |
| SOP-QS-01 | Impartiality Management Procedure | 4.1 |
| SOP-QS-02 | Confidentiality Management Procedure | 4.2 |
| SOP-QS-03 | Personnel Competence and Training Procedure | 6.2 |
| SOP-QS-04 | Facilities and Environmental Control Procedure | 6.3 |
| SOP-QS-05 | Equipment Management Procedure | 6.4 |
| SOP-QS-06 | Metrological Traceability Procedure | 6.5 |
| SOP-QS-07 | External Provider Management Procedure | 6.6 |
| SOP-QS-08 | Request, Tender and Contract Review Procedure | 7.1 |
| SOP-QS-09 | Method Selection, Verification and Validation Procedure | 7.2 |
| SOP-QS-10 | Sample Receipt, Identification, Handling and Sub-Sampling Procedure | 7.3, 7.4 |
| SOP-QS-11 | Technical Records Management Procedure | 7.5 |
| SOP-QS-12 | Measurement Uncertainty Estimation Procedure | 7.6 |
| SOP-QS-13 | Quality Control and Proficiency Testing Procedure | 7.7 |
| SOP-QS-14 | Test Report Preparation and Authorization Procedure | 7.8 |
| SOP-QS-15 | Complaint Handling Procedure | 7.9 |
| SOP-QS-16 | Nonconforming Work Management Procedure | 7.10 |
| SOP-QS-17 | Data and Information Management Procedure | 7.11 |
| SOP-QS-18 | Document Control Procedure | 8.3 |
| SOP-QS-19 | Records Control Procedure | 8.4 |
| SOP-QS-20 | Risk and Opportunity Management Procedure | 8.5 |
| SOP-QS-21 | Improvement Management Procedure | 8.6 |
| SOP-QS-22 | Corrective Action Procedure (CAPA) | 8.7 |
| SOP-QS-23 | Internal Audit Procedure | 8.8 |
| SOP-QS-24 | Management Review Procedure | 8.9 |

## 2.2  Quality Manual

| Procedure ID | Procedure Title | Related ISO Clause(s) |
| --- | --- | --- |
| QM-01 | Quality Manual | 8.2, 8.1, 5 |

## 2.3  Technical Test Procedures (SOP-TP Series)

Note: ONGC Corporate Test Procedures (Vol-I) are the mandated test methods. These are external standard methods adopted as controlled internal procedures. IDWE prepares internal controlled copies of these procedures with any supplementary instructions needed for consistent application.

| Procedure ID | Procedure Title | Related ISO Clause(s) |
| --- | --- | --- |
| SOP-TP-01 | Test Procedure – Bentonite (ONGC/MC/04/2015) | 7.2, 7.5 |
| SOP-TP-02 | Test Procedure – PAC LVG (ONGC/MC/48/2015) | 7.2, 7.5 |
| SOP-TP-03 | Test Procedure – PAC RG (ONGC/MC/49/2015) | 7.2, 7.5 |
| SOP-TP-04 | Test Procedure – Pre-Gelatinized Starch (ONGC/MC/57/2015) | 7.2, 7.5 |
| SOP-TP-05 | Test Procedure – XC Polymer (ONGC/MC/73/2015) | 7.2, 7.5 |

# SECTION 3: MASTER LIST OF RECORDS

The following is the complete list of mandatory records required for ISO/IEC 17025:2017 compliance at the IDWE QA Laboratory. All records shall be legible, identifiable, retrievable, and retained per the Records Retention Schedule (REC-33A) in accordance with SOP-QS-19.

| Record ID | Record Name / Title | Related ISO Clause(s) |
| --- | --- | --- |
| REC-01A | Personnel Impartiality Declaration Form | 4.1 |
| REC-01B | Impartiality Risk Register | 4.1 |
| REC-02A | Personnel Confidentiality Agreement | 4.2 |
| REC-03A | Competence Requirements Matrix | 6.2 |
| REC-03B | Personnel Authorization Register | 6.2 |
| REC-03C | Training Record | 6.2 |
| REC-03D | Competence Assessment / Witnessed Test Record | 6.2 |
| REC-03E | Supervision Record | 6.2 |
| REC-04A | Organizational Chart | 5 |
| REC-04B | Scope of Accreditation Register | 5.3 |
| REC-04C | Job Descriptions / Role Profiles | 5.5 |
| REC-07A | Daily Environmental Monitoring Log | 6.3 |
| REC-07B | Facility Access / Visitor Register | 6.3 |
| REC-07C | Facility Maintenance and Cleaning Log | 6.3 |
| REC-07D | Distilled Water Quality Log | 6.3 |
| REC-09A | Equipment Master Register | 6.4 |
| REC-09B | Equipment Calibration Schedule | 6.4 |
| REC-09C | Individual Equipment Calibration Record | 6.4 |
| REC-09E | Equipment Defect / Out-of-Service Record | 6.4 |
| REC-09F | Equipment Maintenance Log | 6.4 |
| REC-12B | Certified Reference Material (CRM) Log | 6.4 |
| REC-17A | Test Request Form / Work Order | 7.1 |
| REC-17B | Contract Review Checklist | 7.1 |
| REC-17C | Customer Communication Log | 7.1 |
| REC-20A | Method Validation Report | 7.2.2 |
| REC-22A | Sample Receipt Register | 7.4 |
| REC-22B | Sample Condition Assessment Form | 7.4 |
| REC-23A | Test Worksheet – Bentonite | 7.5 |
| REC-23B | Test Worksheet – PAC LVG | 7.5 |
| REC-23C | Test Worksheet – PAC RG | 7.5 |
| REC-23D | Test Worksheet – Pre-Gelatinized Starch | 7.5 |
| REC-23E | Test Worksheet – XC Polymer | 7.5 |
| REC-25A | Measurement Uncertainty Budget | 7.6 |
| REC-25B | Repeatability Study Data Record | 7.6 |
| REC-27A | QC Control Chart (per parameter) | 7.7 |
| REC-27B | Proficiency Testing (PT) Participation Record | 7.7 |
| REC-27C | Duplicate / Replicate Test Record | 7.7 |
| REC-27D | QC Out-of-Control Investigation Record | 7.7 |
| REC-28A | Test Report (issued) | 7.8 |
| REC-28B | Report Review and Authorization Record | 7.8 |
| REC-28C | Report Amendment Register | 7.8.8 |
| REC-28D | Customer Communication Log (opinions/dialogue) | 7.8.7 |
| REC-29A | Complaint Register | 7.9 |
| REC-29B | Complaint Investigation Report | 7.9 |
| REC-30A | Nonconforming Work (NCW) Report Form | 7.10 |
| REC-30B | NCW Register | 7.10 |
| REC-30C | Customer Notification of NCW | 7.10 |
| REC-31A | Spreadsheet / LIMS Validation Record | 7.11 |
| REC-31B | Data Backup Log | 7.11 |
| REC-31C | System Failure Log | 7.11 |
| QM-01 | Quality Manual | 8.2 |
| REC-32A | Document Master List | 8.3 |
| REC-32B | Document Change Record | 8.3 |
| REC-32C | External Document Register | 8.3 |
| REC-33A | Records Master List / Retention Schedule | 8.4 |
| REC-33B | Records Disposal Register | 8.4 |
| REC-34A | Risk Register | 8.5 |
| REC-35A | Improvement Log | 8.6 |
| REC-35B | Customer Feedback Record | 8.6 |
| REC-36A | CAPA Report Form | 8.7 |
| REC-36B | CAPA Register | 8.7 |
| REC-36C | CAPA Effectiveness Verification Record | 8.7 |
| REC-37A | Annual Internal Audit Programme | 8.8 |
| REC-37B | Internal Audit Report | 8.8 |
| REC-37C | Audit Findings Register | 8.8 |
| REC-38A | Management Review Minutes | 8.9 |
| REC-38B | Management Review Action Tracker | 8.9 |

1 | Rev. 00 | ISO/IEC 17025:2017 Documentation Blueprint | ONGC IDWE, Dehradun